September 7, 2004

Mr. Chris Williams

EHS Coordinator

EnCana Oil & Gas. (USA) Inc.

950 17th Street, Suite 2600

Denver, Colorado 80202

RE:	Request for Cessation of Air Sparg System and Use of Activated Charcoal Booms, West Divide Creek Gas Seep

COGCC Remediation No. 1815

NW ¼ Section 12, Township 7 South, Range 92 West

Garfield County, Colorado

Dear Mr. Williams:

The Colorado Oil and Gas Conservation Commission (COGCC) staff has reviewed your August 25, 2004 request to remove the air sparg system and activated charcoal booms for the above referenced remediation.  Based on concurrence with the Water Quality Control Division of the Colorado Department of Public Health and Environment (see Naugle letter of September 2, 2004 – copy attached), the COGCC staff approves your request to remove the sparge system and activated charcoal booms from West Divide Creek.  All current surface water sampling and data reporting efforts pursuant to the Approved Form 27 Work Plan for Remediation No. 1815 remain in effect.  If future sampling indicates an increase in benzene concentrations, EnCana may be required to reinstall the air sparge system and activated charcoal booms.

Should you have any questions, please call me at (303) 894-2100 ext.112.

Respectfully,

Robert H. Chesson, C.P.G., P.G.

Environmental Protection Specialist

Attachment

cc:	Brian Macke – COGCC w/o attachment

Debbie Baldwin – COGCC w/o attachment

Greg Naugle – CDPHE/WQCD w/o attachment

Jeff Combe – CDPHE/WQCD w/o attachment