November 15, 2004

Mr. Chris Williams

EHS Coordinator

EnCana Oil & Gas. (USA) Inc.

950 17th Street, Suite 2600

Denver, Colorado 80202

RE:	Request for Reduction from Daily to Weekly Surface Water Sampling, West Divide Creek Gas Seep

COGCC Remediation No. 1815

NW ¼ Section 12, Township 7 South, Range 92 West

Garfield County, Colorado

Dear Mr. Williams:

The Colorado Oil and Gas Conservation Commission (COGCC) and staff from the Water Quality Control Division (WQCD) of Colorado Department of Public Health and Environment (CDPHE) have reviewed your November 8, 2004 request to reduce the sample frequency of surface water sampling in West Divide Creek for the above referenced remediation.  The sample frequency had increased from monthly to daily sampling on October 26, 2004 in response to the reappearance of low concentrations of benzene in monitoring stations DCS2, DCS3, and DCS4.   Based on concurrence with the WQCD, the COGCC staff approves your request to reduce the sampling of the monitoring stations on the creek from daily to weekly.   All surface water sampling and data reporting efforts pursuant to the Approved Form 27 Work Plan for Remediation No. 1815 remain in effect.  If future sampling indicates an increase in benzene concentrations, EnCana may be required to reinstate daily monitoring.

Should you have any questions, please call me at (303) 894-2100 ext.112.

Respectfully,

Robert H. Chesson, C.P.G., P.G.

Environmental Protection Specialist

cc:	Brian Macke – COGCC

Debbie Baldwin – COGCC

Greg Naugle – CDPHE/WQCD

Jeff Coombe – CDPHE/WQCD