Benzene

What is Benzene and how is it used?

Benzene is a clear, colorless aromatic hydrocarbon that is produced by the burning of natural products. It is a component of products derived from coal and petroleum and is found in gasoline and other fuels. Benzene, as a chemical product, is used in the manufacture of plastics, detergents, pesticides, and as a solvent in printing, paints, and dry cleaning.

Why is Benzene being Regulated?

- Short-term exposures: EPA has found benzene to potentially cause the following health effects when people are exposed to it at levels above the MCL (MCL is defined below) for relatively short periods of time: temporary nervous system disorders, immune system depression, anemia.

- Long-term exposure: Benzene has the potential to cause the following effects from a lifetime exposure at levels above the MCL: chromosome aberrations, cancer.

In 1974, Congress passed the Safe Drinking Water Act. This law requires EPA to determine safe levels of chemicals in drinking water which do or may cause health problems.  These non-enforceable levels, based solely on possible health risks and exposure, are called Maximum Contaminant Level Goals (MCLG).

The MCLG for benzene has been set at zero because EPA believes this level of protection would not cause any of the health effects.

Based on this MCLG, EPA has set an enforceable standard called a Maximum Contaminant Level (MCL). MCLs are set as close to the MCLGs as possible, considering the ability of public water systems to detect and remove contaminants using suitable treatment technologies.

The MCL has been set at 5 micrograms per liter (µg/l) (also called parts per billion [ppb] ) because EPA believes, given present technology and resources, this is the lowest level to which water systems can reasonably be required to remove this contaminant should it occur in drinking water.

These drinking water standards and the regulations for ensuring these standards are met, are called National Primary Drinking Water Regulations. All community water supplies must abide by these regulations.

Drinking Water Standards (Federal EPA):

MCLG: zero

MCL: 5 µg/l (ppb)

Colorado State Drinking Water Standards (CDPHE WQCD):

MCLG:  zero µg/l

MCL : 5 µg/l

How much Benzene is produced and released to the environment?

Production of benzene has increased: from about 9.9 billion lbs. in 1984 to over 12 billion lbs. in 1993.

Benzene is released to air primarily from fumes and exhaust connected with its natural occurrence and additive use in gasoline. Other sources are fumes from its production and use in manufacturing other chemicals. In addition, there are discharges into water from industrial effluents and losses during spills.

What happens to Benzene when it is released to the environment?

If benzene is released to soil, it will either evaporate very quickly or leach to groundwater. It can be broken down by some soil microbes. It may also be degraded in some ground waters. If benzene is released to surface water, most of it should evaporate within a few hours. Though it does not degrade by reacting with water, it may be degraded by microbes. It is not likely to accumulate in aquatic organisms.

Toxicological Information

Acute oral toxicity – LD50 (lethal dose for 50 % of test subjects) in rat is 810 mg/kg

Acute inhalation toxicity - LC50 (lethal concentration for 50 % of test subjects) in rat is 13,700 ppm after 4 hours exposure.

Ecotoxicity/Aquiatic toxicity

The 96 hour(s) LC50 for fathead minnow is 15.59 milligrams per liter (mg/l)

The 24 hour EC50 (effective dose lethal for 50 % of the test subjects) for water flea is 240 mg/l

The 8 day EC50 for green algae is 41 mg/l

The 96 hour LC50 for rainbow trout is 5.3 to 9.1 mg/l.

- Sources and Potential Exposure

- Individuals employed in industries that manufacture or use benzene may be exposed to the highest levels of benzene.

- Benzene is found in emissions from burning coal and oil, motor vehicle exhaust, and evaporation from gasoline service stations and in industrial solvents. These sources contribute to elevated levels of benzene in the ambient air, which may subsequently be breathed by the public.

- Tobacco smoke contains benzene and accounts for nearly half the national exposure to benzene.

- Gasoline, Regular Unleaded (from Marathon Ashland Petroleum Materials Safety Data Sheet [MSDS])

- Saturated Hydrocarbons (Paraffins and Cycloparaffins):  55 % to 80 % of total.

- Aromatic Hydrocarbons (Includes BTEX):  20 % to 40 % of total.

Ecotoxicity/Aquiatic toxicity

Freshwater Toxicity:

Bluegill:  LC50 is 8 ppm at 96 hours

Juvenile shad: TML is 90 ppm at 24 hours

Saltwater Toxicity:

Mullet:  LC50 is 2 ppm at 96 hours.

Grass Shrimp:  LC50 is 1.5 ppm at 96 hours

Menhaden:  LC50 is 2 ppm at 96 hours

Juvenile shad:  TLM is 92 ppm at 24 hours.

For help in locating these agencies or for information on drinking water in general, call: EPAs Safe Drinking Water Hotline: (800) 426-4791.

For additional information on the uses and releases of chemicals in your state, contact the: Community Right-to-Know Hotline: (800) 535-0202.