December 20, 2004

VIA EMAIL

Ms. Kim Kaal

Mr. Chris R. Williams

EnCana Oil & Gas (USA) Inc.

950 17th Street, Suite 2600

Denver, Colorado 80202

RE:	West Divide Creek Seep Remediation No. 1815

SENW Section 12, Township 7 South; Range 92 West

Garfield County, Colorado

Dear Ms. Kaal and Mr. Williams:

Thank you for your project update at our December, 10, 2004 meeting at the COGCC office.  The following is a brief summary of several of the topics discussed.

West Divide Creek Seep Remediation.  The initial results from the pilot test for the in situ-airsparg remediation technique are very encouraging.  Based on the pilot test results, the COGCC staff agrees that the proposed remediation technique appears to be effective and the most appropriate technique in addressing shallow ground water impact from the gas seep.  We have no reservations with proceeding with the overall remediation strategy presented in Draft Final West Divide Creek Preliminary Remedial Strategy (Cordilleran Compliance Services, Inc, December 3, 2004).  The COGCC staff and EnCana are in agreement that the currently installed 15 remediation well points do not constitute the final configuration of the remediation system.  The final configuration will be determined in early 2005 after full evaluation of the results of the three pilot tests.

Project Status Reports.  To help with timely communication of ongoing West Divide Creek Gas Seep data collection activities, studies, and reporting, the COGCC and EnCana are in agreement that written status reports will be prepared by EnCana and submitted to the COGCC, to update the COGCC staff with the continuing remediation actions.  These written reports will be brief and may include summary data submittals and summary figures as necessary.  These reports will initially be prepared on a bi-weekly basis changing to monthly reports in the future.  The status reports can be submitted electronically.

Respectfully,

Robert H. Chesson, C.P.G., P.G.

Environmental Protection Specialist

cc:	Debbie Baldwin – COGCC

Jamie Adkins – COGCC

Brian Macke – COGCC

Morris Bell – COGCC

Diane Bliezner, Esq. – EnCana

Eric Marsh, EnCana

Joel Fox, EnCana

Dave Petrie, EnCana

Kim Kaal, EnCana

Doug Dennison – GARCO