June 23, 2006

Mr. Chris Williams

EH&S Team Lead

Southern Rockies Business Unit

EnCana Oil & Gas. (USA) Inc.

370 17th Street, Suite 1700

Denver, Colorado 80202

RE:	Request for Modification to Approved Form 27, West Divide Creek Gas Seep

COGCC Remediation No. 1815

Section 12, Township 7 South, Range 92 West

Garfield County, Colorado

Dear Mr. Williams:

The Colorado Oil and Gas Conservation Commission (“COGCC”) staff have reviewed your May 24, 2006 letter requesting modification to the existing Form 27 (Remediation Work Plan) originally submitted for the West Divide Creek Gas Seep remediation.   Per the existing COGCC approved Form 27, EnCana Oil & Gas (USA) Inc. (“ECA”) has conducted monthly water well, irrigation well, spring, and creek sampling in an approximately 2-mile radius of the seep (former moratorium area) since late spring 2004. ECA has conducted weekly surface water sampling of West Divide Creek in the area of the seep and monthly ground water sampling of the monitoring wells at the actual seep. Additionally, ECA has continued to supply drinking water to numerous residences within the former moratorium area.

ECA is requesting the following modification to the existing Form 27:

- Cessation of continued sampling and analysis of all water features except the ground water monitoring wells at the West Dive Creek Seep and the surface water sampling of Divide Creek in the area of the seep

- Cessation of providing supplementary drinking water to residences (starting on August 1, 2006).

- Decreasing the frequency of sampling of the West Divide Creek monitoring well system from monthly to quarterly, and

- Decreasing the frequency of sampling of West Divide Creek in the area of the seep from weekly to monthly and shortening the analyte list to BTEX compounds and methane.

Discussion

Sampling of water features – Sampling of these features began in early April 2004 in response to the upset condition of the ECA Schwartz 2-15B Well (responsible for the West Divide Creek Gas Seep) to investigate the possible presence and extent of impacts associated with the gas seep.  Over that period of time, approximately one thousand water samples have been collected and analyzed through May 2006.  Regular water sampling has included 24 domestic water wells, 4 irrigation or livestock water wells, 1 steam location on Dry Hollow Creek, 2 domestic springs, and 3 ponds. Additional sampling of other water features has also been conducted on an as-needed or requested basis.  At no time have any of these samples indicated any evidence of impact from the upset condition at the ECA Schwartz 2-15B Well that created the West Divide Creek Seep.

Decreased sample frequency of the West Divide Creek Seep ground water monitoring wells – Review of the water quality data and summary data compilations by ECA shows that shallow ground water impacted by benzene, toluene, ethylbenzene, and total xylenes (BTEX) compounds and thermogenic methane is of limited aerial extent.  The resulting shallow ground water “plumes” for these constituents are stationary and decreasing in concentrations due to operation of both the ground water remediation system and “cutting-off” of the source of the contamination as a result of remedial actions performed on the ECA Schwartz 2-15B Well (remedial cementing); therefore decreasing the frequency of the sampling appears to be appropriate and is consistent with remediation oversight and clean-up goals. ECA is requesting changing the monthly sample frequency to quarterly.

Decreased sample frequency of surface water locations in the West Divide Creek Seep area – No BTEX compounds have not been detected in West Divide Creek surface water samples collected weekly since April 2005.  Although methane continues to be detected at low concentrations it has shown a general decrease which is attributed to the decreasing input of methane at the seep as the result of the  remedial actions performed on the ECA Schwartz 2-15B Well.  Other water quality parameters, such as total dissolved solids, pH, and chloride, have shown no variability attributable to the seep and show fluctuations in values attributable to natural processes (i.e. seasonal stream flow).  ECA is requesting changing the frequency of creek sampling from weekly to quarterly and also requesting decreasing the analytical laboratory list to only parameters of concern (BTEX compounds and methane).

Cessation of providing supplementary drinking water to residences – Providing supplementary drinking water to residences (if requested) in the approximate 2-mile radius former moratorium area was not a specific requirement of the approved Form 27; however, the COGCC acknowledges that ECA has provided this water as a service to local residents above and beyond the  requirements for the seep remediation.  As observed above, none of the 24 domestic water wells that have been sampled monthly since April 2004 have had any evidence of impact from the Schwartz 21-15B Well upset condition.

The COGCC staff is approving the requested Form 27 modifications as described below:

- ECA may cease continued sampling of water features within the former 2-mile radius moratorium area except as noted in numbers 2 and 3 below.

- ECA may sample the ground water monitoring wells associated with the remediation of the West Divide Creek Gas Seep on a quarterly basis.  ECA will provide the COGCC with quarterly status reports summarizing remediation actions within 90 calendar days after the end of each quarter by sampling event.  These reports shall be summary in nature with maps, tables, etc. necessary to illustrate the status of the remediation.

- ECA may decrease sample frequency for collecting surface water samples for the West Divide Creek remediation from weekly to quarterly.  Although the COGCC staff agree to a decrease in sample frequency, the staff  requires that the analyite list also include total dissolved solids (TDS) , pH, specific conductance, chloride (Cl), sodium (Na), isotopic methane gas determination (where dissolved gases is sufficient), and the existing list of field parameters (dissolve oxygen, turbidity, and field observations).  These data will be summarized as described in item number 2.

- The COGCC staff has no objection to ECA ceasing delivery of supplemental drinking water to residences.  We understand that ECA has notified all of the residents who have been receiving water of this change.

If future sampling indicates an increase in benzene, thermogenic methane or other parameter that points to an impact from oil and gas activities, ECA may be required to reinstate more frequent monitoring.

Should you have any questions, please call me at (303) 894-2100 ext.112.

Respectfully,

Robert H. Chesson, C.P.G., P.G.

Environmental Protection Specialist

cc:	Brian Macke – COGCC

Debbie Baldwin – COGCC

Jaime Adkins - COGCC

Tim Pinson – GARCO

Diane Blieszner, Esq. - ECA