May 25, 2004

VIA FACIMILE

Carla J. Lenkey

CDPHE

WQCD-WQP-B2

4300 Cherry Creek Dr., S.

Denver, Colorado  80246-1530

RE:  West Divide Creek Air Sparge and GAC Booms

Dear Ms. Lenkey:

Attached please find a copy of EnCana’s May 18, 2004 letter to the COGCC requesting permission to decommission the West Divide Creek Gas Seep air sparg system and remove the floating granular activated carbon (GAC) booms from the creek.  To briefly summarize the letter, weekly surface water samples taken from West Divide Creek at the seep area have been non-detectable for benzene since April 26, 2004.  EnCana is requesting approval to remove both the GAC booms and the air sparge system from the creek with the caveat that if benzene reappears in the ongoing creek sampling, they will redeploy the air sparge system and booms.  It is the COGCC staff opinion that nothing further is being gained by the continued operation of both the booms and the air sparge system at this time, and we have no objections will allowing EnCana to proceed with the decommissioning, unless WQCC has objections. Please review the attached correspondence and provide us with your opinion.

If you have any questions or would like to discuss these matters further, please contact me or Debbie Baldwin by phone at 303-894-2100, extension 112 (Bob) or 111 (Debbie).

Respectfully,

Robert H. Chesson, C.P.G., P.G.

Environmental Protection Specialist

Enclosure

cc:	Debbie Baldwin – COGCC

Morris Bell – COGCC

Brian Macke – COGCC