September 15, 2004

Mr. Chris R. Williams

EnCana Oil & Gas (USA) Inc.

950 17th Street, Suite 2600

Denver, Colorado 80202

RE:	Former Dietrich Water Well

West Divide Creek Seep Remediation No. 1815

NENE Section 10, Township 7 South; Range 92 West

Garfield County, Colorado

Dear Mr. Williams:

The Colorado Oil & Gas Conservation Commission (COGCC) staff has reviewed the isotopic and composition results for the July 22, 2004 methane gas sample collected by EnCana at the former Dietrich Water Well.  As you are aware, previous sampling results (by both the COGCC and EnCana) have been inconclusive as to the origin of the methane and heavier carbon chain gasses present in the well.  The July 22, 2004 sample results show; however, the methane gas in the water well to be Williams Fork Formation gas.

Because the presence of production gas in the water well is a violation of COGCC Rule 324A (in general) and Rule 324A.a, the COGCC staff will be issuing an Notice of Alleged Violation (NOAV) citing these violations and requiring EnCana to prepare a Site Investigation and Remediation Workplan (Form 27) for COGCC staff approval, outlining EnCana’s investigation of this water well impact.   Further investigation should include review of all construction and completion records for EnCana production wells within the general area surrounding the former Dietrich Water well.

If you have any questions or comments concerning this letter, please call me at (303) 894-2100 ext. 112.

Respectfully,

Robert H. Chesson, C.P.G., P.G.

Environmental Protection Specialist

cc:	Debbie Baldwin – COGCC

Jamie Adkins – COGCC

Brian Macke – COGCC

Morris Bell – COGCC

Diane Bliezner, Esq. - EnCana